## TAPE
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION :
| CAL. DATE |  |  |  | CAL. DUE
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) | ACTUAL | OPER. INT.
1 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
2 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
3 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
4 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
5 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
6 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
7 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
8 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
9 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
10 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
11 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
12 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
13 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
14 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
15 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
16 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
17 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
18 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
19 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
20 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
21 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
22 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
23 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
24 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
25 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
26 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
27 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
28 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
29 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
30 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
31 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A

## MAINT
Cut to Length Maintenance Check Off
Cutline Check Off: |  |  |  |  | Month:
| 1. | Ensure LP Air is at least 100psi.
| 2. | Ensure water level in cooling tank is correct.
| 3. | Inspect shear gap.
| 4. | Inspect edge guide for damage or movement.
| 5. | Inspect Oil level (HGL).
| 6. | Inspect Universals (LGL).
| 7. | Inspect Universals (HGL).
| 8. | Inspect shear blade.
| 9. | Inspect Oil level (LGL).
| 10. | Inspect all fuild levels.
| 11. | Inspect pancake rolls.
Cutline Compressor Check Off:
| 1. | Ensure Oil level indicates 1/2 full (If unit is on go to step three.
| 2. | Turn unit on.
| 3. | Drain water form receivers.
| 4. | Observe unit operation (loading and unloading).
Put your Initiatials next to the day of the month when check off is complete:
| 1 |  | 12 | 23
| 2 |  | 13 | 24
| 3 |  | 14 | 25
| 4 |  | 15 | 26
| 5 |  | 16 | 27
| 6 |  | 17 | 28
| 7 |  | 18 | 29
| 8 |  | 19 | 30
| 9 |  | 20 | 31
| 10 |  | 21
| 11 |  | 22

## Mic-01
|  | START DATE: |  |  |  |  | LOCATION :
| DATE IN SERVICE: | [5 empty] | OUT OF SERVICE:
MEASUREMENT INSTRUMENT: |  |  |  |  | MICROMETER |  | ID # :
| JO-BLOCK ID #1: | [5 empty] | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  |  |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  | READING AFTER ACTION
DATE | STANDARD | STANDARD | ACTUAL | Actual | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) | ACTUAL | OPER. INT.
1 | 0.5 | 0.1
2 | 0.5 | 0.1
3 | 0.5 | 0.1
4 | 0.5 | 0.1
5 | 0.5 | 0.1
6 | 0.5 | 0.1
7 | 0.5 | 0.1
8 | 0.5 | 0.1
9 | 0.5 | 0.1
10 | 0.5 | 0.1
11 | 0.5 | 0.1
12 | 0.5 | 0.1
13 | 0.5 | 0.1
14 | 0.5 | 0.1
15 | 0.5 | 0.1
16 | 0.5 | 0.1
17 | 0.5 | 0.1
18 | 0.5 | 0.1
19 | 0.5 | 0.1
20 | 0.5 | 0.1
21 | 0.5 | 0.1
22 | 0.5 | 0.1
23 | 0.5 | 0.1
24 | 0.5 | 0.1
25 | 0.5 | 0.1
26 | 0.5 | 0.1
27 | 0.5 | 0.1
28 | 0.5 | 0.1
29 | 0.5 | 0.1
30 | 0.5 | 0.1
31 | 0.5 | 0.1

## Scale
|  | SCALE CHECK |  |  |  | SHIFT | 1st
|  | SCALE #: |  |  | Month: |  |  | READING AFTER ACTION
|  | TEST COIL#: |  | 1 | LOCATION: | Sumter
DATE | NAME |  | SCALE ACTUAL | + / - | GOOD / BAD |  |  | SCALE ACTUAL | OPER. INT.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TEST COIL WEIGHT: |  | 9340 | TOTAL VARIANCE +/-: |  | 20 | W= WEEKEND H= HOLIDAY

## TAPE (2)
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION :
| CAL. DATE |  |  |  | CAL. DUE
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) | ACTUAL | OPER. INT.
1 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
2 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
3 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
4 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
5 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
6 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
7 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
8 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
9 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
10 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
11 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
12 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
13 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
14 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
15 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
16 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
17 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
18 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
19 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
20 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
21 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
22 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
23 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
24 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
25 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
26 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
27 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
28 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
29 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
30 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A
31 | N/A | N/A |  |  |  | N/A | N/A
| N/A | N/A |  |  |  | N/A