## Maint
Slitter Maintenance Check Off
Slitter Check Off: |  |  |  |  | Month:
| 1. | Verify water level.
| 2. | Drain water traps.
| 3. | Check Hydraulic oil.
| 4. | Check Gamma gauge.
| 5. | Check edge guide rolls.
| 6. | Check air line oilers.
| 7. | Check entry/exit shear knifes.
| 8. | Clean up any debres.
| 9. | Clean up any scrap.
Slitter Compressor Check Off:
| 1. | Ensure Oil level indicates 1/2 full (If unit is on go to step three.
| 2. | Turn unit on.
| 3. | Drain water form receivers.
| 4. | Observe unit operation (loading and unloading).
Put your Initiatials next to the day of the month when check off is complete:
| 1 |  | 12 | 23
| 2 |  | 13 | 24
| 3 |  | 14 | 25
| 4 |  | 15 | 26
| 5 |  | 16 | 27
| 6 |  | 17 | 28
| 7 |  | 18 | 29
| 8 |  | 19 | 30
| 9 |  | 20 | 31
| 10 |  | 21
| 11 |  | 22

## Tape-01
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION : | Sumter
| DATE IN SERVICE: |  |  |  | OUT OF SERVICE:
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) |  | ACTUAL | OPER. INT.
1 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
2 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
3 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
4 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
5 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
6 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
7 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
8 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
9 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
10 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
11 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
12 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
13 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
14 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
15 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
16 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
17 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
18 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
19 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
20 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
21 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
22 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
23 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
24 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
25 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
26 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
27 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
28 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
29 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
30 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
31 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A

## Tape-02
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION : | Sumter
| cal. Date |  |  |  | Cal. Due
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) |  | ACTUAL | OPER. INT.
1 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
2 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
3 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
4 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
5 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
6 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
7 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
8 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
9 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
10 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
11 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
12 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
13 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
14 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
15 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
16 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
17 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
18 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
19 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
20 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
21 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
22 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
23 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
24 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
25 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
26 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
27 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
28 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
29 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
30 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A
31 | N/A | N/A |  |  |  |  | N/A | N/A
| N/A | N/A |  |  |  |  | N/A

## Mic-01
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION : | Sumter
| DATE IN SERVICE: |  |  |  | OUT OF SERVICE:
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) |  | ACTUAL | OPER. INT.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Cal-01
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION : | Sumter
| DATE IN SERVICE: |  |  |  | OUT OF SERVICE:
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) |  | ACTUAL | OPER. INT.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## Cal-02
CALIBRATION VERIFCATION SHEET
| START DATE: |  |  |  | LOCATION : | Sumter
| DATE IN SERVICE: |  |  |  | OUT OF SERVICE:
MEASUREMENT INSTRUMENT: |  |  |  |  | ID # :
| JO-BLOCK ID #1: |  |  |  | JO-BLOCK ID #2:
*N/A DATE IF NOT IN USE |  | CHOOSE ONE: | *DAILY / WEEKLY / MONTHLY / PRIOR TO USE |  |  |  | READING AFTER ACTION
DATE | STANDARD | ACTUAL | OPER. INT. | GOOD / BAD | COMMENTS (IF DEFECTIVE: MWR# ) |  | ACTUAL | OPER. INT.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31